## Slide 1: Measurements in the Ocean
Peter Challenor
University of Exeter
and
National Oceanography Centre

## Slide 3: What is Measured
Temperature and Salinity – Density
Bottom Pressure
Velocity
Tracer Chemistry

## Slide 4: Geostrophy
Combining and integrating
So we take density changes relative to a reference level, z0,
and we can calculate the velocity between any two columns
of density measurements
Notes: fv=-\frac{1}{\rho}\frac{\partial p}{\partial x}
0=-\frac{\partial p}{\partial x} - g \rho
\rho v = \frac{g}{f}\int_{z_0}^{z}\frac{\partial \rho}{\partial x} + b

## Slide 5: Temperature and Salinity from Research Ships

## Slide 6: The Reversing Thermometer
Main Instrument for temperature pre-1970
Sd 0.01K (Quadfasel et al 1990)

## Slide 7: CTD – conductivity, temperature and depth

## Slide 8: Salinty
Salinity is measured by the conductivity
This measurement needs to be calibrated
This is done on board ship from water samples with a salinometer

## Slide 9: Repeat Hydrography

## Slide 10: Expendable Probes

## Slide 11: The Expendable BathyThermograph (XBT)
Only measures temperature. Depth comes from drop rate.
Widely used by navies and some commercial ships.
Recent corrections to drop rate

## Slide 12: Routine XBT Coverage

## Slide 13: Floats and Seals

## Slide 14: Floats

## Slide 15: ARGO floats
Notes: Float at 1000 or 2000 m depth.
Every ten days pop up to surface measuring T&S
Salinity is calibrated from ship data

## Slide 18: The current ARGO network

## Slide 19: Data from Marine Mammals

## Slide 20: Experimental full depth ARGO floats

## Slide 21: Gliders

## Slide 22: Autosub

## Slide 23: Velocity measurements

## Slide 24: Current Meters

## Slide 25: Moorings

## Slide 27: MOVE Array

## Slide 28: RAPID @ 26.5˚N (2004-2014)
Cunningham, S. A., et al. (2007), Temporal variability of the Atlantic Meridional Overturning Circulation at 26.5°N, Science, 317, 935-938.
Kanzow, T., et al. (2007), Observed flow compensation associated with the MOC at 26.5°N in the Atlantic, Science, 317, 938-941.
Measuring the strength and vertical structure of the Atlantic Meridional Overturning Circulation (AMOC) and associated heat transport

## Slide 29
The array

## Slide 30
The array

## Slide 31
The array

## Slide 32: RAPID MOC time series: since 2004

## Slide 33: Tracer Chemistry
The ocean dissolves gases from the atmosphere
Anthropogenic gases – Tritium, CFC, … – have known atmospheric concentrations with time.
Knowing the dissolution rate we can estimate the time since any sample of water was at the surface

## Slide 34: Motivation: How much anthropogenic carbon does the ocean take up?
Where does the ocean take up carbon?
How might the uptake of carbon respond to further changes in the climate system?
Sabine et al, Science, 2004

## Slide 35: World Ocean Database 2013
Collects all oceanographic data
http://www.nodc.noaa.gov/OC5/WOD/pr_wod.html

## Slide 36: Pre-1900

## Slide 37: 1900-1909

## Slide 38: 1910-1919

## Slide 39: 1920-1929

## Slide 40: 1930-1939

## Slide 41: 1940-1949

## Slide 42: 1950-1959

## Slide 43: 1960-1969

## Slide 44: 1970-1979

## Slide 45: 1980-1989

## Slide 46: 1990-1999

## Slide 47: 2000-2009

## Slide 48: 2010-Present

## Slide 49: Post 1980 CTD 3500m+

## Slide 50: World Ocean Atlas 2009
‘Objectively Analysed’ mean field + s.d. at 1°and 5° resolution at fixed depth levels
http://www.nodc.noaa.gov/OC5/WOA09/pr_woa09.html

## Slide 51: Inverse Solutions
Ganachaud & Wunsch (2000)

## Slide 52: Reanalyses
Combine data with ocean models via data assimilation
  ECCO
  SODA
  ECMWF

## Slide 53: Some Statistical Issues
Modelling T&S simultaneously (Sahu and Challenor 2008)
3-d analysis
Analysis along density levels rather than pressure or depth levels
Spatio-temporal modelling with data at varying locations